## Sheet1
Item_Code | Item_Description | Qty_New | Unit_Cost | Total Cost | Group | Cat
BAS101 | BASIN, medium, hospital pattern, vitreous china, no tap holes, no overflow, integral back outlet, 500W 400D. | 7 | 67 | 469 | 1 | A1
BAS106 | BASIN, medium, general pattern, vitreous china, 1 tap right hand hole, no overflow, bottom outlet, 500W 400D. | 1 | 50 | 50 | 1 | A1
BED015 | BED variable height, two-way tilt, adjustable backrest and knee-break, built-in bed extension with mattress retainer, electrically operated, on castors, 380-780H 2260/2430L 1010W | 1 | 5500 | 5500 | 3 | B
BED040 | BED HEAD BUFFER/DOCKING device, bed and wall protection, horizontal, wall mounted, (internal clearance 1000-1400) | 3 | 130 | 390 | 1 | A1
BED9126 | BEDHEAD SERVICES UNIT - Vertical TRUNKING MOUNTED incorporating: 1x Bedlight control switch, ON/DIM/OFF 1x Bedlight fuse unit 1x Handset parking bracket 1x Handset parking clip | 3 | 1500 | 4500
BOA034 | BOARD, marker, whiteboard, dry-wipe, with pen holder, wall mounted, 600H 900W | 1 | 30 | 30 | 2
BOA037 | BOARD, marker, whiteboard, dry-wipe, with pen holder, wall mounted, 900H 1200W | 3 | 35 | 105 | 2
BRA003 | BRACKET, holder, suction unit, wall mounted | 3 | 25 | 75 | 2 | A2
BRA015 | BRACKET, flat panel monitor, height adjustable, wall mounted | 1 | 160 | 160 | 2
BRA9000 | BRACKET, sharps bin, wall mounted | 4 | 25 | 100 | 1
BRA9005 | BRACKET, flatscreen TV, adjustable, suit up to 32", wall mounted | 3 | 160 | 480 | 1
CAB9001 | CABINET chemical storage, 1800H 1200W 450D | 1 | 720 | 720 | 3
CAL012 | RESET UNIT, with repeat lamp, patient/staff call | 1 | 156 | 156 | 1
CAL035 | LAMP repeat call (patient/staff or staff emergency or Cardiac call), ceiling mounted | 5 | 65 | 325 | 1
CAL047 | PUSH BUTTON staff emergency call, reset and integral/adjacent indicator lamp, trunking mounted | 3 | 169 | 507 | 1 | A1
CAL9007 | PUSH BUTTON staff emergency call, reset and integral/adjacent indicator lamp, wall/trunking mounted | 2 | 170 | 340 | 1
CAL9012 | RESET UNIT with repeat lamp, patient/staff call, wall/trunking mounted | 3 |  |  | 1
CHA003 | CHAIR, height adjustable 540-790, tilting back, adjustable footrest, swivel, 5 star base, on glides | 1 | 130 | 130 | 3
CHA006 | CHAIR, easy, with open arms, low back, upholstered | 3 | 102 | 306 | 3
CHA317 | CHAIR, upright, upholstered, stacking, wipeable | 4 | 50 | 200 | 3
CHA372 | CHAIR, treatment, reclining, height adjustable, wipeable. | 2 | 3800 | 7600 | 3
CLO004 | CLOCK battery with second sweep hand, wall mounted | 5 | 26 | 130 | 2
COM031 | COMPUTER CPU | 4 | 800 | 3200 | 3 | B
COM033 | COMPUTER KEYBOARD | 4 | 25 | 100 | 3 | B
COM049 | COMPUTER MONITOR, 17", TFT, digital flat panel display, high-resolution screens, desk top | 1 | 250 | 250 | 3 | B
COM9003 | MULTIFUNCTIONAL PRINTER, 1150H 600W 760D | 1 | 4000 | 4000 | 3
COM9010 | COMPUTER MONITOR, 24" TFT, digital flat panel display, high-resolution screens, desk top | 3 | 450 | 1350 | 3
COU007 | COUCH, examination/treatment, (2 section), with paper roll holder, variable height, retractable wheels | 2 | 800 | 1600 | 3
CUP212 | CUPBOARD, stationery, metal, shutter front, lockable, 1970H 1000W 470D | 1 | 518 | 518 | 3
DIA011 | RENAL HAEMODIALYSIS MACHINE | 3 | 13500 | 40500 | 3
DIA9000 | WATER TREATMENT SYSTEM for dialysis, comprising, Coarse filtration, Softening, Prefiltration, Buffer tank, Reverse osmosis, Sanitization, Sterilizing filtration (optional) | 1 | 42500 | 42500 | 1
DIS013 | DISPENSER, paper towel, wall mounted | 8 | 15 | 120 | 2 | B
DIS026 | DISPENSER, Medical hand sanitizer, lever action, wall mounted | 4 | 35 | 140 | 2
DIS030 | DISPENSER, soap, disposable single cartridge, lever action, wall mounted | 8 | 15 | 120 | 2 | B
DIS438 | DISPENSER, disposable gloves set of 3 and disposable apron, wall mounted | 2 | 35 | 70 | 2
DRA010 | DRAINER, stainless steel, 770H 1550W 800D | 1 | 661 | 661 | 1 | A1
HOL004 | HOLDER, sack, with lid foot operated, small, freestanding | 8 | 100 | 800 | 3 | B
HOL006 | HOLDER, sack, with lid foot operated, medium, freestanding, 875H 430W 385D | 12 | 120 | 1440 | 3
HOL007 | HOLDER, sack, large, capacity 120 litre, freestanding | 2 | 130 | 260 | 3
HOO022 | HOOK, double, wall mounted | 6 | 8 | 48 | 2
LIG9006 | LUMINAIRE Reading, adjustable arm, LED, wall/trunking/rail mounted | 3 | 800 | 2400 | 1
LIG9009 | LUMINAIRE, examination, LED, ceiling, adjustable, 50,000 lux | 1 | 2500 | 2500 | 1
LOC002 | LOCKER, bedside, 3 compartment, towel rail at rear, on castors, 902H 485W 485D | 3 | 250 | 750 | 3
MAT008 | MATTRESS, suitable for BED015 | 1 | 410 | 410 | 3
MSS049 | LID for container/box 300W 400D, HTM71 | 7 |  |  | 1
MST003 | TROLLEY, small, single, with handle and extended worktop, 5 sets of runners, 600mm facing, 850H 1050W 450D nominal | 13 | 285 | 3705 | 1 | A1
MST005 | TROLLEY, small, half size, with 5 sets of runners, 400mm facing, 850H 445W 350D nominal | 3 | 275 | 825 | 1
MSW030 | WORKTOP, for 600mm facing inserts cabinets, 2000W 500D nominal | 6 | 294 | 1764 | 1 | A1
OUT096 | OUTLET earthing point, shrouded. | 1 | 190 | 190 | 1
OUT121 | SOCKET outlet, computer data, single | 6 | 300 | 1800 | 1 | A1
OUT126 | SOCKET outlet switched 13amp double, with data protection mains RF filter/suppressor | 2 | 300 | 600 | 1
OUT131 | SOCKET outlet data/voice, double. | 15 | 300 | 4500 | 1 | A1
OUT206 | SOCKET outlet television aerial, single, wall mounted | 1 | 300 | 300 | 1 | A1
OUT315 | OUTLET, drinking water for equipment | 1 | 82 | 82 | 1 | A1
OUT342 | OUTLET, drain point | 12 | 154 | 1848 | 1 | A1
OUT400 | OUTLET vacuum industrial, wall mounted | 3 | 65 | 195 | 1
OUT451 | OUTLET 7 kPa compressed air, medical, wall mounted | 4 | 65 | 260 | 1
OUT9007 | OUTLET reverse osmosis (RO) water for equipment | 11 |  |  | 1
OUT9010 | SOCKET outlet switched 13amp twin, wall/trunking mounted | 86 |  |  | 1
OUT9034 | SOCKET outlet switched 13amp twin, USB port twin, wall/trunking mounted | 4 |  |  | 1
OUT9470 | OUTLET oxygen medical, wall/trunking mounted | 4 |  |  | 1
PAN069 | PANEL media, for satellite dialysis machine, wall mounted | 8 | 1200 | 9600 | 1
PAT9001 | PATIENT CONSOLE inc bracket, for control of entertainment, food services, environmental controls, telemedicine enabled | 3 | 1000 | 3000 | 3
RAC410 | RACK, metal, 1 bay, 4 shelves, 1980H 1200W 600D | 3 | 250 | 750 | 3
SCA081 | SCALE COLUMN, weighing person, with sliding weights, and telescopic column for height measure | 1 | 1400 | 1400 | 3
SIN115 | KIEL SINK, stainless steel 425mm deep, undershelf 1250x550mm, 750H 1350W 800D | 1 | 900 | 900 | 1 | A1
SMC003 | CABINET, tall, modular storage, for 400 facing inserts, with door, on plinth, 2100H | 2 | 380 | 760 | 1
SMC053 | CABINET, tall, modular storage, for 600 facing inserts, with door, on plinth, 2100H | 3 | 380 | 1140 | 1
STF9000 | STORAGE UNIT, lower, cupboard, 1 door, 1 shelf, right handed, 865H 600W 565D | 3 | 200 | 600 | 1
STF9001 | STORAGE UNIT, lower, cupboard, 1 door, 1 shelf, left handed, 865H 600W 565D | 4 | 200 | 800 | 1
STF9101 | STORAGE UNIT, upper, cupboard, 1 door, 1 shelf, left handed, 600H 600W 300D | 2 | 180 | 360 | 1
STF9102 | STORAGE UNIT, upper, cupboard, 1 door, 1 shelf, right handed, 600H 600W 300D | 3 | 180 | 540 | 1
STO008 | STOOL, kick, retractable castors | 2 | 65 | 130 | 3
STO013 | STOOL, swivel, with back, 710 height | 2 | 240 | 480 | 3
TAB073 | TABLE, overbed, cantilevered | 3 | 230 | 690 | 3 | B
TAP289 | TAP, monobloc, pillar mixer, integral thermostatic, short lever. | 1 | 250 | 250 | 1 | A1
TAP809 | TAP, bib, lever, hospital pattern, pair hot and cold, 1/2 in. | 1 | 65 | 65 | 1 | A1
TAP894 | TAP bib, hospital pattern, integral thermostatic mixer, automatic action with sensor operation. HTM64TBH6 | 7 | 350 | 2450 | 1 | A1
TRA028 | TRACK, curtain, three sided, U-shape, 2700L 2400W | 2 | 420 | 840 | 1
TRA141 | TRACK, curtain, door, one sided, 1500mm doorset | 1 | 110 | 110 | 1
TRO070 | TROLLEY, for single cylinder, type F or G, 1155H 510W 405D | 1 | 190 | 190 | 3
TRO131 | TROLLEY, dressing/instrument, stainless steel, buffered, 870H 450W 450D | 1 | 230 | 230 | 3
TRO135 | TROLLEY, dressing/equipment, 6 clear trays, buffered, 890H 510W 480D | 5 | 320 | 1600 | 3
TVM9001 | TELEVISION, with dvd player incorporated, 22 inch screen | 1 | 170 | 170 | 3
TVM9003 | TELEVISION, 32 inch screen | 3 | 300 | 900 | 3
VIC001 | VICE, bench mounted type, 250H 200W 400D | 1 | 130 | 130 | 2
WAR056 | WARMER, bag, peritoneal dialysis (PD), 95H 240W 430D | 1 | 240 | 240 | 3
WAS100 | WASTE, unslotted flush-grated, metal, 1.1/4 in. . | 1 | 45 | 45 | 1 | A1
WAS107 | TRAP, bottle, 1.1/4 in, plastic resealing. | 8 | 35 | 280 | 1 | A1
WOR052 | WORKBENCH, steel construction, antistatic vinyl worktop with rolled front edge and rear upstand, 900x1800x900 | 2 | 1700 | 3400 | 3
WOR130 | WORKTOP, 2500W 600D | 1 | 440 | 440 | 1
WOR135 | WORKTOP, 3000W 600D | 1 | 528 | 528 | 1
WOR9042 | WORKTOP, 1200W 600D | 1 | 211 | 211 | 1
WST001 | WASTE, recessed grated metal, 38mm with standpipe, overflow | 1 | 45 | 45 | 1 | A1